## labelling
Different Fillings for rods used in phantom
					~ 0.002 mol/L	(Volume %)				Observations 1				Observations 2				Observations 3				Observations 4				Observations 5 (11.10.2016)
	Nr.	H20	Oil	NaCl	CuSO4	Soap	Ascorbic Acid	Primovist	Agar		Nr.	bubbles	angle	hit req.	speed	bubbles	angle	hit req.	speed	bubbles	angle	hit req.	speed	bubbles	angle	hit req.	speed	bubbles			len	vol
	1	x					1	yes	10°	no	fast	no				no				no					2	25,1327412287
	2	x		3,6	1,96					2	yes	40°	yes	ok	no				no				no					1,8	22,6194671058
	3	x		3,6	3,92					3	yes	40°	yes	ok	no				no				no				complete block, stuck at lower end			1+1	25,1327412287
	4	x		3,6	19,6					4	yes	80°	yes	ok	no				no				no					4	50,2654824574
	5	x		3,6	1,96	1					5	yes	10°	no		yes	10°	no	superfast	no				no					1.5 (no clear border)	18,8495559215
	6	x		3,6	1,96	5					6	yes (and very small ones)	10°	no	superfast	RIP				RIP				RIP				RIP				0
	7	x		3,6	1,96	20					7	yes	10°	no	ultrafast	yes	10°	no	superfast	no				little	10°	no	fast				2 (no clear border)	25,1327412287
	8	x		3,6	1,96		0,36				8	no				no				no				no					2,3	28,902652413
	9	x		3,6	1,96		3,6				9	no				no				no				no					3	37,6991118431
	10	x		3,6	1,96		36				10	no but “rusty” screw				yes	20°	yes	fast	yes	45°	no	ok	yes		yes					2,4	30,1592894745
	11	x		3,6				0,10%			11	no		yes	fast	yes	not enough			yes		yes		yes		yes					2	25,1327412287
	12	x		3,6				1,00%			12	yes	60°	yes	fast	yes	not enough			yes		yes		yes		yes					2	25,1327412287
	13	x		3,6				10,00%			13	yes	80°	yes	ok	yes	not enough			yes		yes		yes		yes					2,3	28,902652413
	14	x		3,6	1,96				0,5		14	no				yes	40°	no	ok	yes		yes		yes		yes		big bubble hard to move (stuck in the middle)			1.5+0.5	25,1327412287
	15	x		3,6	1,96				20		15	no				no				no				no					3.4 (dry, not air)	42,7256600888
	16		x	Motor Oil	Castrol Power1					16	no				no				no				no					0	0
	17		x	Silicon Oil	Charge: 15HLVY023					17	no				no				no				no					0,5	6,2831853072

		Phantom from the front:
		empty
		1	2	3	4	5	7	8	9	10	11	12	13	14	15	16	17
					1
					-> 7 rods		8 rods ←

## mri_sequences
	mri	29.7.16		Phasen-oversampling	Mittelungen	fov				TE	TR	voxel		not visible	bad visibility	good visibility

	localizer
Goldmarker test	t1_fl3d_vibe_tra_2mm		A>>P	0,00%		top rod excluded		artifact	03:23	2,68	7,07	0.9*0.9*2		1,	9,10,17	rest
	t1_fl3d_vibe_tra_2mm		A>>P	0,00%		top rod included		no artifact	03:23
	t1_fl3d_vibe_tra_2mm		A>>P	50,00%		top rod included		no artifact, less noise	05:03

	t1_fl3d_vibe_tra_2mm		A>>P	50,00%		top rod excluded		no artifact	05:08

	t1_fl3d_vibe_tra_2mm		L>>R	0,00%		all included		no artifact	05:08
	t1_fl3d_vibe_tra_2mm		L>>R	0,00%		sides excluded		artifacts, much noise	05:08
	t1_fl3d_vibe_tra_2mm		L>>R	50,00%		sides excluded		no artifact, less noise	07:41

Teletherapie	t2_tra_restore		L>>R	50,00%		sides excluded		no artifact	07:34	106	3280	0.9*0.9*3		4,12,13,15	2,3,5,7,14,16	1,8,9,10,11,17
	t2_tra_restore		L>>R	0,00%		sides excluded, even narrower		artifacts, much noise	05:23			0.8*0.8*3

Goldmarker test	t1_fl3d_vibe_tra_2mm		L>>R	50,00%	3	all included		dark shadow	07:41	2,68	7,07	1.6*1.6*2
	t1_fl3d_vibe_tra_5mm		L>>R	50,00%	2	all included		bright shadow	08:42	5	12	1.6*1.6*5
	t1_fl3d_vibe_tra_5mm		L>>R	50,00%	3	all included		bright shadow, but less noise	13:02	5	12	1.6*1.6*5